## Examples_and_Directions
Index Diversity/Balance Spreadsheet | [9 empty] | For more information, see: http://www.illumina.com/content/dam/illumina-marketing/documents/products/techspotlights/techspotlight_two-channel_sbs.pdf
Use this sheet to determine if a small set of indexes contain sufficient sequence diversity to sequence correctly on Illumina sequencers.
If the diversityof the index sequences is too low, the indexing reads will fail & you will not be able to demultiplex your samples!
Enter names & sequences of the indexes (A8 - B19), everything else is calculated automagically.
The goal is to have the fraction A/C values close to 0.5 for all positions; if the values are 0.2-0.8, it is probably OK; values of 0 or 1 are certain to fail; values outside 0.2-0.8 are bad.
if your index is <8 nucleotides fill in with the fixed bases from the adapter, otherwise, if left blank, positions 7 & 8 repeat values for pos6;
the first base in TruSeq adapters after any index is A (I have used a lower case "a" in the Dovetail index examples below)
Enter Values in these two columns (delete existing data) | [7 empty] | Ensure Your Index Sequence is 8 nt long (see note above) |  | Diversity for MiSeq & HiSeq | [8 empty] | Diversity for MiniSeq and NextSeq
Name of Index | Index Sequence | pos1 | pos2 | pos3 | pos4 | pos5 | pos6 | pos7 | pos8 |  | col1 | col2 | col3 | col4 | col5 | col6 | col7 | col8 |  | col1 | col2 | col3 | col4 | col5 | col6 | col7 | col8 | Notes
Dovetail_201 | TGCGGTTa | T | G | C | G | G | T | T | a | A | 2 | 2 | 4 | 2 | 2 | 1 | 1 | 3 | A | 2 | 2 | 4 | 2 | 2 | 1 | 1 | 3 | counts as red & green
Dovetail_202 | GAGGACTa | G | A | G | G | A | C | T | a | C | 0 | 1 | 2 | 3 | 0 | 1 | 4 | 3 | C | 0 | 1 | 2 | 3 | 0 | 1 | 4 | 3 | counts as red only
Dovetail_xxx | TAACGTTa | T | A | A | C | G | T | T | a | total | 2 | 3 | 6 | 5 | 2 | 2 | 5 | 6 | T | 4 | 1 | 1 | 1 | 2 | 4 | 3 | 1 | counts as green only
iTru7_13_09 | AGAATGCC | A | G | A | A | T | G | C | C | [9 empty] | Red total | 2 | 3 | 6 | 5 | 2 | 2 | 5 | 6
iTru7_13_10 | ACTCAGAC | A | C | T | C | A | G | A | C | G | 2 | 4 | 1 | 2 | 4 | 2 | 0 | 1 | Green total | 6 | 3 | 5 | 3 | 4 | 5 | 4 | 4
iTru7_13_11 | TGAAGACG | T | G | A | A | G | A | C | G | T | 4 | 1 | 1 | 1 | 2 | 4 | 3 | 1 | red::green | 0.33 | 1 | 1.2 | 1.67 | 0.5 | 0.4 | 1.25 | 1.5
iTru7_101_11 | TGATGTCC | T | G | A | T | G | T | C | C | total | 6 | 5 | 2 | 3 | 6 | 6 | 3 | 2 | fraction red | 0.25 | 0.5 | 0.55 | 0.63 | 0.33 | 0.29 | 0.56 | 0.6
iTru7_101_12 | GTCCTTCT | G | T | C | C | T | T | C | T
[10 empty] | A/C::G/T | 0.33333 | 0.6 | 3 | 1.6667 | 0.33333 | 0.33333 | 1.6667 | 3 | G | 2 | 4 | 1 | 2 | 4 | 2 | 0 | 1 | doesn't count; no color
[10 empty] | fraction A/C | 0.25 | 0.375 | 0.75 | 0.625 | 0.25 | 0.25 | 0.625 | 0.75
This is an example of a balanced set
[Group 0 of 12 tags] |  | pos1 | pos2 | pos3 | pos4 | pos5 | pos6 | pos7 | pos8 |  | col1 | col2 | col3 | col4 | col5 | col6 | col7 | col8 |  | col1 | col2 | col3 | col4 | col5 | col6 | col7 | col8 | Notes
itru7_18_08 | ACGTTACC | A | C | G | T | T | A | C | C | A | 3 | 2 | 3 | 3 | 2 | 3 | 0 | 1 | A | 3 | 2 | 3 | 3 | 2 | 3 | 0 | 1 | counts as red & green
itru7_15_10 | CTGTGTTG | C | T | G | T | G | T | T | G | C | 2 | 4 | 3 | 3 | 2 | 2 | 6 | 3 | C | 2 | 4 | 3 | 3 | 2 | 2 | 6 | 3 | counts as red only
itru7_21_03 | TGAGGTGT | T | G | A | G | G | T | G | T | total | 5 | 6 | 6 | 6 | 4 | 5 | 6 | 4 | T | 3 | 3 | 4 | 5 | 3 | 6 | 4 | 3 | counts as green only
itru7_24_04 | GATCCATG | G | A | T | C | C | A | T | G | [9 empty] | Red total | 5 | 6 | 6 | 6 | 4 | 5 | 6 | 4
itru7_23_03 | GCCTATCA | G | C | C | T | A | T | C | A | G | 4 | 3 | 2 | 1 | 5 | 1 | 2 | 5 | Green total | 6 | 5 | 7 | 8 | 5 | 9 | 4 | 4
itru7_16_01 | AACAACCG | A | A | C | A | A | C | C | G | T | 3 | 3 | 4 | 5 | 3 | 6 | 4 | 3 | red::green | 0.83 | 1.2 | 0.86 | 0.75 | 0.8 | 0.56 | 1.5 | 1
itru7_17_04 | ACTCGTTG | A | C | T | C | G | T | T | G | total | 7 | 6 | 6 | 6 | 8 | 7 | 6 | 8 | fraction red | 0.45 | 0.55 | 0.46 | 0.43 | 0.44 | 0.36 | 0.6 | 0.5
itru7_24_12 | CCTATGGT | C | C | T | A | T | G | G | T
itru7_14_05 | TGTACACC | T | G | T | A | C | A | C | C | A/C::G/T | 0.71429 | 1 | 1 | 1 | 0.5 | 0.71429 | 1 | 0.5 | G | 4 | 3 | 2 | 1 | 5 | 1 | 2 | 5 | doesn't count; no color
itru7_21_11 | GTATGCTG | G | T | A | T | G | C | T | G | fraction A/C | 0.41667 | 0.5 | 0.5 | 0.5 | 0.33333 | 0.41667 | 0.5 | 0.33333 | fraction A/C | 0.86957 | 0.84507 | 0.89686 | 0.92081 | 0.87209 | 0.9434 | 0.86957 | 0.85714
itru7_17_10 | TGATGTCC | T | G | A | T | G | T | C | C
itru7_27_09 | GTCCTTCT | G | T | C | C | T | T | C | T

## Example_sets_bad_OK_good
Example of a BAD set | [8 empty] | pos7 & 8 don't exist, so they repeat values for pos6
TruSeq Index | Index Sequence |  | pos1 | pos2 | pos3 | pos4 | pos5 | pos6 | pos7 | pos8 |  | col1 | col2 | col3 | col4 | col5 | col6 | col7 | col8
2 | CGATGT | JACO | C | G | A | T | G | T | T | T | A | 0 | 0 | 2 | 0 | 0 | 2 | 2 | 2
4 | TGACCA | TAGU | T | G | A | C | C | A | A | A | C | 2 | 0 | 0 | 1 | 1 | 0 | 0 | 0
12 | CTTGTA | Song Sparrow | C | T | T | G | T | A | A | A | total | 2 | 0 | 2 | 1 | 1 | 2 | 2 | 2
Gambusia Chicago
[11 empty] | G | 0 | 2 | 0 | 1 | 1 | 0 | 0 | 0
[11 empty] | T | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[11 empty] | total | 1 | 3 | 1 | 2 | 2 | 1 | 1 | 1
[11 empty] | A/C::G/T | 2 | 0 | 2 | 0.5 | 0.5 | 2 | 2 | 2
[11 empty] | fraction A/C | 0.66667 | 0 | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.66667 | 0.66667
LOW
Example of an acceptable set
TruSeq Index | Index Sequence |  | pos1 | pos2 | pos3 | pos4 | pos5 | pos6 | pos7 | pos8 |  | col1 | col2 | col3 | col4 | col5 | col6 | col7 | col8
2 | CGATGT | JACO | C | G | A | T | G | T | T | T | A | 3 | 0 | 2 | 1 | 2 | 3 | 3 | 3
4 | TGACCA | TAGU | T | G | A | C | C | A | A | A | C | 3 | 2 | 1 | 2 | 4 | 1 | 1 | 1
12 | CTTGTA | Song Sparrow | C | T | T | G | T | A | A | A | total | 6 | 2 | 3 | 3 | 6 | 4 | 4 | 4
8 | ACTTGA |  | A | C | T | T | G | A | A | A
11 | GGCTAC |  | G | G | C | T | A | C | C | C | G | 2 | 4 | 0 | 2 | 2 | 2 | 2 | 2
21 | GTTTCG |  | G | T | T | T | C | G | G | G | T | 1 | 3 | 6 | 4 | 1 | 3 | 3 | 3
22 | CGTACG |  | C | G | T | A | C | G | G | G | total | 3 | 7 | 6 | 6 | 3 | 5 | 5 | 5
25 | ACTGAT |  | A | C | T | G | A | T | T | T
27 | ATTCCT |  | A | T | T | C | C | T | T | T | A/C::G/T | 2 | 0.28571 | 0.5 | 0.5 | 2 | 0.8 | 0.8 | 0.8
[11 empty] | fraction A/C | 0.66667 | 0.22222 | 0.33333 | 0.33333 | 0.66667 | 0.44444 | 0.44444 | 0.44444
a bit low
Example of a balanced set
[Group 0 of 12 tags] |  |  | pos1 | pos2 | pos3 | pos4 | pos5 | pos6 | pos7 | pos8 |  | col1 | col2 | col3 | col4 | col5 | col6 | col7 | col8
itru7_18_08 | ACGTTACC |  | A | C | G | T | T | A | C | C | A | 3 | 2 | 3 | 3 | 2 | 3 | 0 | 1
itru7_15_10 | CTGTGTTG |  | C | T | G | T | G | T | T | G | C | 2 | 4 | 3 | 3 | 2 | 2 | 6 | 3
itru7_21_03 | TGAGGTGT |  | T | G | A | G | G | T | G | T | total | 5 | 6 | 6 | 6 | 4 | 5 | 6 | 4
itru7_24_04 | GATCCATG |  | G | A | T | C | C | A | T | G
itru7_23_03 | GCCTATCA |  | G | C | C | T | A | T | C | A | G | 4 | 3 | 2 | 1 | 5 | 1 | 2 | 5
itru7_16_01 | AACAACCG |  | A | A | C | A | A | C | C | G | T | 3 | 3 | 4 | 5 | 3 | 6 | 4 | 3
itru7_17_04 | ACTCGTTG |  | A | C | T | C | G | T | T | G | total | 7 | 6 | 6 | 6 | 8 | 7 | 6 | 8
itru7_24_12 | CCTATGGT |  | C | C | T | A | T | G | G | T
itru7_14_05 | TGTACACC |  | T | G | T | A | C | A | C | C | A/C::G/T | 0.71429 | 1 | 1 | 1 | 0.5 | 0.71429 | 1 | 0.5
itru7_21_11 | GTATGCTG |  | G | T | A | T | G | C | T | G | fraction A/C | 0.41667 | 0.5 | 0.5 | 0.5 | 0.33333 | 0.41667 | 0.5 | 0.33333
itru7_17_10 | TGATGTCC |  | T | G | A | T | G | T | C | C
itru7_27_09 | GTCCTTCT |  | G | T | C | C | T | T | C | T